## Sheet1
OPERATIONS | Infra_Asset_Template_Name | Asset_Classification | Maximo | Location_Vector | ATTRIBUTE_1 | ATTRIBUTE_2 | ATTRIBUTE_3 | ATTRIBUTE_n | Asset_Image_Simple_Graphical_View | Image_Advanced_Graphical_View
Operation ADD/UPDATE/DELETE/NOCHANGE | Template Name | Select Electrical, Fire, Mechanical or MEP | Leverage attributes from Maximo? Select Yes or No | Select relevant location vector catered to by this asset type | Attributes that are required, but not present in Maximo or CapLogix. Add more columns for additional attributes. |  |  |  | Specify URL for each Template
NOCHANGE | Generator | Electrical | Yes | None
NOCHANGE | Lighting | Electrical | Yes | Zone
NOCHANGE | Load Bank or Tap Box | Electrical | Yes | None
NOCHANGE | PDU (Power Distribution Unit) | Electrical | Yes | None
NOCHANGE | STS (Static Transfer Switch) | Electrical | Yes | None
NOCHANGE | Switch Board | Electrical | Yes | None
NOCHANGE | Transformer | Electrical | Yes | None
NOCHANGE | UPS (Hybrid) | Electrical | Yes | None
NOCHANGE | UPS (Rotary) | Electrical | Yes | None
NOCHANGE | UPS (Static) | Electrical | Yes | None
NOCHANGE | VSD (Variable Speed Drive) | Electrical | Yes | None
NOCHANGE | VFD (Variable Frequency Drive) | Electrical | Yes | None
NOCHANGE | Generator SCR (Ratio) | Electrical | No | None
NOCHANGE | MV SwitchGear (Medium Voltage Switchgear) | Electrical | No | None
NOCHANGE | MV_LV Substation (Medium Low Voltage Substation) | Electrical | No | None
NOCHANGE | LV Switchgear (Low Voltage Switchgear) | Electrical | No | None
NOCHANGE | ATS (automatic Transfer Switch) | Electrical | Yes | None
NOCHANGE | ASTS (Automatic Static Transfer Switch) | Electrical | Yes | None
NOCHANGE | SCC-UPS (System Control Cabinet) | Electrical | Yes | None
NOCHANGE | UPS | Electrical | Yes | None
NOCHANGE | DC Plants | Electrical | Yes | None
NOCHANGE | PQM (Power Quality Meter) | Electrical | No | None
NOCHANGE | Fuel Tank Monitoring | Electrical | No | None
NOCHANGE | Fuel Fill & Distribution | Electrical | No | None
NOCHANGE | VESDA (Very Early Smoke Detection Apparatus) | Electrical | No | Room
NOCHANGE | Fire Alarm | Electrical | No | Room
NOCHANGE | EPO Main Panel (Emergency Power Off Main Panel) | Electrical | No | None
NOCHANGE | EPO Stations | Electrical | No | None
NOCHANGE | Generator Room | Electrical | No | Room
NOCHANGE | HAZ (Hazardous) Gas Mitigation | Electrical | No | Room
NOCHANGE | Boiler | Mechanical | Yes | Zone
NOCHANGE | Chiller | Mechanical | Yes | Zone
NOCHANGE | Cooling Tower | Mechanical | Yes | Zone
NOCHANGE | CRAC DX (CRAC Direct Expansion) | Mechanical | Yes | Zone
NOCHANGE | Dry Cooler | Mechanical | Yes | Zone
NOCHANGE | Fuel System | Mechanical | Yes | None
NOCHANGE | Pipe Work | Mechanical | Yes | None
NOCHANGE | Pump | Mechanical | Yes | None
NOCHANGE | PECU | Mechanical | No | Zone
NOCHANGE | RTU (Roof Top Unit) | Mechanical | Yes | Zone
NOCHANGE | TED (Thermally Enhanced Design) | Mechanical | Yes | Zone
NOCHANGE | Ventilation System | Mechanical | Yes | Zone
NOCHANGE | Zone Damper | Mechanical | Yes | Zone
NOCHANGE | CRAH / CRAC (Chilled Water) | Mechanical | No | Cage
NOCHANGE | AHU Manager (Air Handler Unit Manager) | Mechanical | No | Zone
NOCHANGE | Chiller Manager | Mechanical | No | Zone
NOCHANGE | Condenser Water Manager | Mechanical | No | Zone
NOCHANGE | CHW Pump Manager (Chilled Water Pump Manager) | Mechanical | No | Zone
NOCHANGE | Water Storage Manager | Mechanical | No | None
NOCHANGE | Thermal Storage Water Manager | Mechanical | No | None
NOCHANGE | Air Handling Unit (AHU) | Mechanical | Yes | Zone
NOCHANGE | CRAC (Computer Room Air Conditioner) | Mechanical | Yes | Zone
NOCHANGE | CRAH (Computer Room Air Handler) | Mechanical | Yes | Zone
NOCHANGE | RAH Unit (Recirculating Air Handling Unit) | Mechanical | No | None
NOCHANGE | Rooftop Unit (Office Areas) | Mechanical | No | None
NOCHANGE | Colo Makeup Air Unit | Mechanical | No | Zone
NOCHANGE | Fan Coil Unit | Mechanical | No | None
NOCHANGE | Chiller - Water Cooled | Mechanical | No | Zone
NOCHANGE | Chiller - Air Cooled | Mechanical | No | Zone
NOCHANGE | Chilled Water System | Mechanical | No | None
NOCHANGE | Chilled Water Charging Pump | Mechanical | No | None
NOCHANGE | WSE Heat Exchanger | Mechanical | No | None
NOCHANGE | Condensing Water System | Mechanical | No | None
NOCHANGE | Colo Duct Dampers | Mechanical | No | Room
NOCHANGE | Colo Area Temperature | Mechanical | No | Cage
NOCHANGE | Colo Area Humidity | Mechanical | No | Room
NOCHANGE | Electrical Room Duct Dampers | Mechanical | No | Room
NOCHANGE | Electrical Room Temperature | Mechanical | No | Room
NOCHANGE | Electrical Room Humidity | Mechanical | No | Room
NOCHANGE | Humidifier - Steam | Mechanical | No | Room
NOCHANGE | VAV - Cool (Variable Air Volume) | Mechanical | No | Zone
NOCHANGE | VAV - Heat & Cool | Mechanical | No | Zone
NOCHANGE | VAV - Fan Powered Cool | Mechanical | No | Zone
NOCHANGE | VAV - Fan Powered Heat & Cool | Mechanical | No | Zone
NOCHANGE | Outdoor Air | Mechanical | No | Zone
NOCHANGE | Chiller Room Exhaust | Mechanical | No | Room
NOCHANGE | Battery Room Exhaust | Mechanical | No | Room
NOCHANGE | Battery Room | Mechanical | No | Room
NOCHANGE | Elevator Sump | Mechanical | No | None
NOCHANGE | Sanitary Sump | Mechanical | No | None
NOCHANGE | Sump | Mechanical | No | None
NOCHANGE | RO System (Reverse Osmosis System) | Mechanical | No | None
NOCHANGE | Leak Detection | Mechanical | No | None
NOCHANGE | Fire Systems | Fire | Yes | None
NOCHANGE | MEP Rounds (Mechanical Electrical Plumbing) | MEP | Yes | None
NOCHANGE | Building Fabric | MEP | Yes | None
NOCHANGE | Test Gear | MEP | Yes | None
NOCHANGE | Elevator | MEP | Yes | None
UPDATE | Security | Mechanical | Yes | None
ADD